QUANTUM CALORIMETRY

Though much of the early work on quantum calorimeters was motivated by the search for better detectors for astrophysical x-ray spectroscopy, applications to many other experiments will be as exciting and potentially revolutionary as the advances promised in x-ray astronomy.

Caroline Kilbourne Stahle, Dan McCammon, and Kent D. Irwin

Caroline K. Stahle is a physicist at NASA’s Goddard Space Flight Center in Greenbelt, Maryland.  Dan McCammon is a physics professor at the University of Wisconsin, Madison.  Kent D. Irwin is a physicist at the National Institute of Standards and Technology in Boulder, Colorado.

The serve was perfect and your return was powerful, but just a bit off.  Now the tennis ball sits wedged in a gap in the fence around the court.  What happened to its kinetic energy?  It has gone to heat the fence, of course, and you realize that if the fence were quite a bit colder, you might be able to measure that heat and determine just how energetic your swing really was.

Calorimetry has been a standard measurement technique since James Joule and Julius von Mayer independently concluded, about 150 years ago, that heat is a form of energy.  Only in the past 15 years or so has the extremely high sensitivity afforded by millikelvin calorimetry been applied to the measurement of the energy of individual photons and particles.  Low-temperature microcalorimeters have several unique properties that have enabled their application to a variety of experiments.  We will introduce you to a few of these before focusing on high resolution astrophysical x-ray spectroscopy as an example for more detailed discussion.  Quantum calorimetry is still a young field, and we expect that there will be applications to fields not mentioned here that will be as exciting and potentially revolutionary as the advances promised in x–ray astronomy.

Because of the exceedingly small specific heats of many materials at very low temperatures, quite large detectors can be constructed that still have sensitivity to small amounts of deposited energy.  This energy is sensed after it has been converted to heat, so interactions that produce little or no ionization can be detected.  These characteristics have made calorimetry an attractive choice in searches for WIMPs, the weakly interacting massive particles that are among the leading candidates for the “missing matter” in the universe.  The scattering of a single WIMP is predicted to transfer of order 1 keV to nuclei of the target material.  Such slow nuclei produce much less ionization than electrons of the same energy.  By simultaneously measuring both the thermal and ionization signals, it is possible to discriminate efficiently against the much more numerous background events that interact with electrons and produce relatively more ionization.  A less exotic use for this sensitivity to non-ionizing events is the detection of DNA fragments in a time-of-flight mass spectrometer.  At energies of 10 - 20 keV, these massive molecules produce little or no ionization on impact, but the energy resolution of a thermal detector is easily sufficient to distinguish singly and doubly charged fragments.

Another useful property of thermal detection is that it does not depend on the charge transport properties of the absorber.  The composition of ionization detectors is limited to a very few materials like high purity silicon or germanium, but calorimeters often can be made out of the radioactive source.  This capability is being exploited in searches for neutrinoless double beta decay, where capturing both betas within the detector permits a very sensitive search for a narrow line at a known energy. This method is also useful for investigating a beta decay spectrum to put limits on the neutrino rest mass. Beta spectrometer results are limited by systematic uncertainties in correcting for energy lost in the source. A calorimeter in which the source is incorporated directly measures the total decay energy minus whatever is carried away by the neutrino.  The only requirement is that there be no metastable states created with lifetimes longer than the thermal integration time of the detector.

When a calorimeter measures energy, it is in a low-temperature equilibrium state in which non-thermal excitations have negligible populations. To the extent that it can be regarded as a closed system, the event-to-event statistical fluctuations that limit the resolution of ionization detectors do not occur.  It is possible to make small calorimeters with resolving powers E/∆EFWHM of 5000 or more for x-rays.  This is almost a factor of 100 better than the theoretical limit for a silicon solid state detector, a big benefit to x-ray astronomy and materials micro-analysis.  Lower but still useful resolving power can be extended all the way down to the near infrared, raising the possibility of imaging arrays for visible light that simultaneously provide spectral data for each pixel.

We will now discuss one application in some detail and show how detector performance is calculated and optimized for this class of experiment.  These results are general and can be used to determine the suitability of calorimetric methods for other experiments.  Since much of the early work on quantum calorimeters was motivated by a search for better detectors for astrophysical x-ray spectroscopy, we will use this application as our example.  From the physics of the experiment to the physics of the sensor, we will cover nine orders of magnitude in temperature and length scales from the atomic to the astronomical.

# X RAYS REVEAL THE HOT UNIVERSE

Since its beginnings in the 1960’s, x-ray astronomy has played a large part in revealing an unexpectedly hot and energetic side to the Universe.  Today we know that most normal matter (at least the part we can detect) exists in the form of gas at temperatures of tens of millions of degrees.  Dense clusters of galaxies hold large quantities of this gas – up to five times the mass of the galaxies – where it traces the gravitational potential well produced by the mysterious “dark matter”.  This gas is essentially invisible except at x-ray wavelengths, and its discovery was one of several big surprises in x-ray astronomy.

X rays have also provided a way to study physics in the immediate vicinity of black holes with their enormous gravitational fields and neutron stars with magnetic fields as large as 1010 teslas.  The Stefan-Boltzmann

- P= AsSBT4

(for P representing power, A the radiating area, and T the temperature), and inverse-square laws tell us that things that are small and far away will be too faint to see unless they are very hot, and that being 103 times hotter allows something to be 1012 times smaller in area or 106 times further away while remaining just as easy to see — if we are looking at the right wavelength!  Fortunately, the gravitational potential near neutron stars and black holes provides more than enough energy to raise the temperature of in-falling matter to x-ray emitting levels.

This energetic radiation allows us to study regions of extreme temperature and gravitational and magnetic fields that cannot be reproduced on earth.  As in the rest of astronomy, however, we are not able to adjust conditions or sample the material.  We can only collect the radiated photons, and we need to get as much information as we can from them in order to deduce the physics.  Spectroscopy can be an effective tool, and the 0.1 – 10 keV x-ray band, corresponding to temperatures from 106 to108 K, is particularly interesting.  At these temperatures, hydrogen and helium are fully ionized, but Bremsstrahlung is still inefficient, and the dominant radiation is collisionally-excited characteristic lines of partially ionized heavy elements. These lines provide a wealth of diagnostics on the elemental abundances and physical conditions in the gas, and measurements of Doppler shifts and line widths can give valuable information about its motion.

A dearth of high quality spectra has limited what we have been able to learn so far from x-ray astronomy.  The choice between wavelength dispersive devices (diffraction gratings and Bragg crystal spectrometers) and non-dispersive spectrometers (proportional counters and solid-state detectors) has presented a dilemma.  Dispersive spectrometers offer very good energy resolution, but low throughput, while non-dispersive spectrometers have very high efficiency, but relatively poor resolution. The good energy resolution of gratings requires optics with very high angular resolution, but, to date, the design of x-ray telescopes has involved a trade-off between angular resolution and collecting area, putting gratings at a sensitivity disadvantage. Also, gratings multiplex by dispersing the spectrum across a position sensitive detector, but at the expense of confusion in spectra from spatially extended objects.  As a result of these considerations, most astronomical x-ray spectroscopy so far has been done with non-dispersive detectors that directly determine the photon energy by measuring the amount of ionization produced by each event.  The energy resolution of these devices is not affected by the acceptance angle, so they can have very high throughputs, but statistical fluctuations on the fraction of the energy going into ionization from one event to the next fundamentally limit the resolution.  For silicon, the theoretical limit is about 100 eV at 6 keV, a value that is closely approached by modern x-ray charge-coupled devices. An examination of Figure 1, which shows modeled x-ray emission around the Fe K lines from a 7  107 K plasma as seen with 1, 10, and 100 eV resolution, makes it clear that much higher resolution is needed to take full advantage of the information available.  This fundamental problem led to the search for a better detector.

HISTORY OF QUANTUM CALORIMETRY (sidebar)

Calorimetry has been used since the early days of nuclear physics to measure the integrated energy of various radioactivities.  By the mid 1930’s, the sensitivity of cryogenic operation had been recognized, and small calorimeters were operated at temperatures as low as 50 mK.  These devices must have been very nearly capable of detecting individual particle or gamma ray events, but the earliest published reference that we have found to using them in this mode is the 1974 account by Tapio Niinikoski of spurious pulses on a carbon resistance thermometer readout, which he identified with local heating due to the passage of individual cosmic rays.

The first experimental development coincidentally began simultaneously on both sides of the Atlantic in 1982.  In Milan, Ettore Fiorini had been working on detecting neutrinoless double beta decay and, intrigued by a suggestion in a preprint by Guenakh Mitselmakher that the betas might be detected thermally, went to Niinikoski to investigate the practicality of this idea.  They devised an approach that was developed into the first successful physics experiment using thermal spectrometers, obtaining a new lower limit for the lifetime for double beta decay in 130Te measured with 340 g TeO2 ingots in a dilution refrigerator in the Gran Sasso laboratory.

Meanwhile, at NASA’s Goddard Space Flight Center, the x-ray astronomy group was looking for ways to improve upon the resolution of the silicon solid state spectrometer they had flown on the Einstein satellite. X-ray astronomer Richard Mushotzky approached Harvey Moseley, a Goddard astronomer he knew worked with InSb detectors for the infrared, hoping to take advantage of the small bandgap of this material to improve the resolution.  Moseley also used infrared bolometers, however, and the previous year had calculated their sensitivity for detecting very weak laser pulses.  He was able to show that thermal detection potentially offered a far larger improvement.  In 1984, a team led by Stephen Holt at Goddard proposed a microcalorimeter x-ray spectrometer (XRS) for inclusion on NASA’s Advanced X-ray Astrophysics Facility (AXAF).  Despite its technical immaturity at the time, its tremendous potential was recognized and the proposal was accepted.  Though the XRS was later removed from the AXAF design after a change in the scope of the mission, this successful instrument evolved into the XRS on Astro-E described elsewhere in this article.

# THE X-RAY CALORIMETER –– BASIC PRINCIPLES OF OPERATION

An x-ray calorimeter is conceptually a simple device.  As shown in Figure 2, it consists of a thermal mass to absorb incident x-ray photons, a thermometer to measure the resulting temperature rise, and a weak link to a low-temperature heat sink that provides the thermal isolation needed for a temperature change to be sensed.  Some basic principles are obvious from the outset.  We need to operate at a low temperature so that the energy deposited is large relative to the thermodynamically unavoidable random transfer of heat across the weak link.  We need an absorber that is opaque to x rays yet has a low heat capacity so that a small deposition of energy is translated into a measurable temperature change.  That absorber must thermalize well, meaning that it must reproducibly and efficiently distribute the energy of the initial photon across a thermal distribution of phonons or electrons, depending on the thermometer.  We need a sensitive thermometer.  We need the thermal link to be weak enough that the time for restoration of the base temperature is the slowest time constant in the system (compared with thermalization and diffusion times), yet not so weak that the device is made too slow to handle the incident x–ray flux.

How well can a calorimeter measure the energy it absorbs?  Consider a calorimeter with a thermometer that translates changes in temperature into a voltage. It has a heat capacity C and a link with thermal conductance G to a heat sink. An instantaneous deposition of energy into the absorber will produce a voltage pulse with an exponential decay time constant  equal to C/G.  In the frequency domain, the signal will be nearly independent of frequency f for f<<12pt and will fall off as 1/f above this corner frequency.  The magnitude of the noise due to the random transfer of energy across the link to the heat sink (an elementary calculation in statistical mechanics) has the same frequency distribution as the signal.  If this “phonon noise” were the only source of noise, the signal-to-noise ratio would be frequency-independent, and the measurement error could be made arbitrarily small by employing a sufficiently large bandwidth.  In reality, a frequency-independent noise term or a finite detector response time will reduce the signal-to-noise ratio at high frequencies, effectively limiting the usable bandwidth.  This is illustrated in Figure 3.

To understand the bandwidth limitations and calculate the highest energy resolution attainable, we need to consider specific implementations of the calorimeter concept.  Devices have been developed using resistive, capacitive, inductive, paramagnetic, and electron-tunneling thermometers.  The best energy resolution to date has been achieved with resistive thermometers, both semiconductor thermistors and superconducting transition-edge sensors.

Johnson noise and Joule heating are important effects in resistive calorimeters. Johnson noise is frequency-independent voltage noise that scales with the square root of temperature and resistance.  Joule heating occurs because the bias current or voltage used to convert a change in resistance to an electrical signal is continually dissipating power in the thermometer.  These physical effects lead to the concept of optimal bias.  Increasing the bias raises the signal and phonon noise relative to the Johnson noise, extending the useful bandwidth, until the decrease in signal-to-noise resulting from self-heating offsets that gain.  An additional penalty comes from increases in heat capacity with temperature; thus, the temperature dependence of the heat capacity also enters the optimization.  Harvey Moseley and colleagues calculated the energy resolution attainable in an ideal resistive thermometer, following the similar optimization done by John Mather for infrared bolometers.  They obtained an expression of the form

(2)	,

where K is Boltzmann’s constant, Tb is the heat sink temperature, and Cb is the heat capacity evaluated at that temperature.   The reduced temperature T/ Tb is written as t.  The heat capacity and thermal conductance functions are C(t)=Cbt   and G(t)=Gbt, but the thermal conductance does not appear in the expression apart from its exponent .  The resistance appears in terms of its logarithmic derivative,. For simplicity we have not included the definition of f(t), but all you really need to know is that  for most practical values of and t.  Minimizing the full expression in t determines the optimal bias temperature and the highest resolution for a given detector.  It is assumed that an incident photon changes the temperature so little that it is valid to neglect the temperature dependence of C, G, , and the noise terms during the pulse.  It is also assumed that external sources of noise, such as from a signal amplifier, are negligible compared with the intrinsic noise.  Though amplifier noise requires careful attention, it can be rendered negligible for resistive thermometers.

Electrothermal feedback (ETF), another property of resistive thermometers, occurs because the bias power changes as the resistance changes.  Consider a thermistor with a negative  that is biased with a constant current I.  As T increases, R will fall, causing I2R, the Joule power, to drop.  This makes the pulse recovery time faster than the C/G expected in the absence of feedback.  This effect can be very important in devices with large ||.

# SEMICONDUCTOR THERMISTORS IN CALORIMETERS

Doped semiconductor thermistors were the first thermometers used in x-ray calorimeters.

Both ion-implanted silicon and neutron transmutation doped (NTD) germanium have been used successfully.  An advantage of silicon is the existence of well-established micro-machining techniques that permit the fabrication of devices in which the active pixels and their links to the heat sink form a monolithic array.  Reproducibility and uniformity of doping density are advantages of NTD germanium.  Electrical conduction in such thermistors at low temperatures proceeds via thermally activated hopping of charge carriers between localized impurity states through a mechanism called variable range hopping (VRH).  In VRH, the average hopping distance increases as the temperature is lowered, as it becomes more probable for an electron to tunnel further to a site requiring less change in energy than to tunnel to a nearby site with a difference in energy large compared to that available in the spectrum of phonons.  In doped crystalline semiconductors, which have a Coulomb gap in the density of states, VRH produces the resistance law , resulting in a logarithmic sensitivity α=-12T0T.  T0 is a constant that depends sensitively on the doping density, increasing from 0 K at the metal-insulator transition to about 120 K at half this critical impurity concentration.   R0 depends on the resistor geometry and only weakly on doping density.

With values of  achievable with semiconductor thermistors, T < 0.1 K, and early estimates that the heat capacity could be kept below 0.01 pJ/K, a soft x-ray detector with energy resolution better than 1 eV was foreseen.  This prediction assumed that all noise sources apart from phonon noise and Johnson noise were negligible and that resistance was a function of temperature alone. Actual devices have suffered from non-ideal effects that invalidate these assumptions.  There is a decrease in resistance with increasing bias power even at fixed temperature (non-Ohmic behavior) and excess noise at low frequencies (1/f noise) .  These limit how small the thermistor can be made, and hence its contribution to the heat capacity, since both get worse as the thermistor is made smaller.  These effects also limit T0, since both worsen with decreasing doping density.  The limiting resolution, given these effects, has not yet been determined.  The non-Ohmic behavior also limits practical device speeds, since higher thermal conductance values require that more power be dissipated in the thermometer to reach the optimal bias temperature.

Practical semiconductor calorimeters need a detection area of about 0.1 to 1 mm2, while the total heat capacity is kept <0.1 pJ/K, making absorber selection highly constrained. Insulators and semiconductors have in their bandgaps impurity levels on which electrons can become trapped, forming metastable states that lead to incomplete and variable thermalization.  Normal metals thermalize well, but their large electronic specific heats limit their use to extremely small detectors. Semimetals such as HgTe thermalize well, but have relatively high lattice specific heats.  Superconductors with high atomic numbers and high Debye temperatures appear attractive, but thermalization in a superconductor can be delayed by slow quasiparticle recombination times at temperatures far below the critical temperature.  Though the search for the optimal absorber for use with semiconductor thermistors continues, the best performance so far has been obtained with HgTe and Sn absorbers.  The best resolution at 6 keV reported for a calorimeter with a semiconductor thermistor is 5 eV FWHM, obtained by Ettore Fiorini and the Milan University calorimeter group for two detectors with NTD germanium thermistors and tin absorbers.  Eric Silver and coworkers at the Smithsonian Astrophysical Observatory are achieving similar resolution with detectors like these that they are optimizing for astrophysical applications.

THE FIRST CALORIMETERS IN SPACE (sidebar)

Two calorimeter arrays have already measured cosmic x rays.  The Wisconsin/Goddard sounding-rocket X-ray Quantum Calorimeter (XQC) instrument observed the diffuse soft x-ray emission from a large solid angle at high galactic latitude for 240 seconds in 1996 and again in 1999 with improved hardware.  The spectrum shown is from a very preliminary analysis of data from the latter flight.  The absolute energy scale, resolution, and the number of photons included after pulse screening will be improved after more careful data processing.  Nonetheless, lines are clearly seen at the energies where we anticipated emission from highly ionized oxygen.  The 36–pixel array, consisting of ion-implanted, micro-machined silicon thermistors and HgTe thermalizing x-ray absorbers, was operated at 60 mK and had an energy resolution as good as 5 eV in the 0.05 - 1 keV band.  The ongoing XQC program, led by Dan McCammon at the University of Wisconsin and Andrew Szymkowiak and Scott Porter at Goddard, serves as a testbed for new calorimeter technology optimized for the soft x-ray band and provides quick looks at the interstellar medium and selected supernova remnants.

The X-Ray Spectrometer (XRS) calorimeter instrument, scheduled for launch as part of the Japanese/U.S. x-ray astronomy satellite Astro-E in early 2000, has an array of 32 microcalorimeters at the focal plane. The arrays for XRS, like those for XQC, were developed and fabricated at Goddard Space Flight Center and consist of silicon thermistors and HgTe absorbers.  Typical resolution at 3 keV is 9-10 eV and at 6 keV is 11-12 eV, an order of magnitude better than a silicon x-ray ionization detector.  This broad band (0.4 – 10 keV) instrument will be operational for two years.  In that time, it will make many observations of phenomena in the hot and energetic universe, addressing questions with the power of x-ray spectroscopy. This instrument was developed jointly by a team at Goddard and the University of Wisconsin, led by principal investigator Richard Kelley, and a team in Japan involving several institutions under the leadership of the Institute of Space and Astronautical Science.

# SUPERCONDUCTING TRANSITION-EDGE CALORIMETERS

Superconducting transition-edge sensors (TES) operate in the narrow region between the normal and superconducting states of a metal film. For a TES thermometer,  can be more than an order of magnitude higher than that of a practical semiconductor thermistor.  There are two principal means of developing a voltage (and hence a resistance) across an electrically biased superconducting film undergoing its phase transition.  If the superconductor is non-uniform, or has a temperature gradient due to self-heating, the resistance is determined by the size of a normal region that grows with temperature.  A voltage can also be generated across a superconductor by magnetic flux flow across the film.  Depending on the physical parameters of the film, this voltage generation can be characterized by the nucleation of flux channels, called phase slip lines, over which the superconducting order parameter slips in increments of 2p.

The energy resolution of a calorimeter is determined by the ratio of the signal to the phonon noise and by the useful bandwidth.  The use of a thermometer with higher  increases the useful bandwidth by raising both the signal and phonon noise above the white noise, improving the energy resolution for a fixed heat capacity.  In the small-signal limit, for the same heat capacity, TES calorimeters will significantly outperform semiconductor calorimeters in energy resolution.  For x-ray applications, however, the heat capacity of a calorimeter is constrained by the onset of non-linearity in the detector response for large pulses.  In both TES and semiconductor thermistors the sensitivity depends non-linearly on temperature, but for TES calorimeters there is an abrupt loss of sensitivity once the normal state has been reached.  To keep the temperature excursion due to the absorption of an x-ray photon from exceeding the dynamic range of the detector, the heat capacity C of a TES calorimeter must be increased by a factor proportional to .  Since, for large values of , the resolution scales as C/α, the fundamental limits on the energy resolution of a TES x-ray calorimeter are similar to the original predictions made for semiconductor calorimeters.  The main advantage of a TES calorimeter lies in practical issues such as the design flexibility that a larger heat capacity budget allows.  TES calorimeters can use materials with high specific heats, such as normal metals, that thermalize deposited energy quickly and efficiently, increasing the probability of actually achieving the predicted resolution.

The concept of optimal bias acquires an interesting twist when applied to a TES calorimeter.  Clearly, for a particular superconductor, the bias temperature must lie within the superconducting transition.  With the use of the proximity effect, however, it is possible to engineer a TES thermometer with a critical temperature Tc at any convenient temperature by making a bilayer out of a thin film of a superconductor with a Tc much higher than is useful and a thin film of a normal metal to push that Tc down.  The value of Tc is determined by the thicknesses of the two layers, the properties of the two films, and the resistance of the interface.   Given a practical refrigerator temperature and the ability to obtain a particular value of  at any Tc , the choice of Tc for the highest energy resolution is determined by the same bias optimization as for any resistive device.  In designing a TES calorimeter for an expected maximum incident photon energy, we choose a value for the heat capacity C that avoids large-signal non-linearity yet fully uses the linear part of the dynamic range.  It works out that for a given  and a maximum photon energy E, we will choose C such that CµEα/Tc. This counteracts the usual heat capacity penalty for operation at a higher bias temperature, resulting in a higher optimal bias temperature than for the semiconductor devices and much slower degradation in resolution with temperature above that optimum.  The much larger scale of the heat capacity makes it practical to design a TES calorimeter that has a lower heat capacity but is biased at a higher temperature.

What is there to gain from designing a TES with a higher bias temperature?   Such operation increases the magnitude of the electrothermal feedback (already substantial because of the large ) because it requires more bias power, increasing the dynamic range of the fed back reduction in power.  With negative ETF, the TES will self-regulate within its transition, and increasing the bias temperature relative to that of the heat sink improves the stability of the bias point.  Increasing the ETF also makes the temperature recover faster, and it is useful to do this up to the point that the corner frequency of the thermal response matches the useful bandwidth of the device.  This makes it possible to recover the temperature in a time close to the limiting thermalization and diffusion times, allowing a higher incident x-ray flux before the onset of pulse pile-up.

The fabrication of TES x-ray calorimeters by Kent Irwin and the NIST–Boulder group with excellent energy resolution (2.4 eV at 1.5 keV and 4.7 eV at 6 keV) and count rate (> 400 counts per second) is a significant advance for high throughput x-ray spectroscopy.  Figure 4 shows the 2.4 eV result.  These results were obtained with Mo/Cu proximity-effect TES thermometers fabricated on Si3N4 membranes.

# CALORIMETERS IN X-RAY ASTRONOMY –– THE FUTURE

XRS will open the field of high-resolution, high-throughput astrophysical x-ray spectroscopy. NASA and the European Space Agency are already investigating future mission concepts, Constellation-X and XEUS, respectively, that plan for an imaging calorimeter with 2 eV resolution at 6 keV and about 1000 pixels.  Such technology does not yet exist.  Condensed matter physics and materials engineering feature prominently at this stage in developing the calorimeter.

Ongoing research in low temperature physics will enable a greater understanding of high temperature astrophysics.   Questions about the Universe place demands on detectors that, in turn, pose questions in solid state physics.  Adaptations of the resulting spectrometers will be useful tools for fields of research beyond astrophysics.  Physics thrives on this type of feedback.

.	Calorimeters are one type of a class of spectrometers called low temperature detectors (LTD).  For reviews of LTD and many of the applications discussed in the introduction, see N. Booth, B. Cabrera, and E. Fiorini, Ann. Rev. Nuclear and Particle Phys., 46, 471 (1996), and D. Twerenbold, Rep. Prog. Phys. 59, 349 (1996).

.  	T. Shutt, B. Ellman, P. D. Barnes Jr., A. Cummings, A. Da Silva, J. Emes, Y. Giraud-Héraud, E. E. Haller, A. E. Lange, R. R. Ross, J. Rich, B. Sadoulet, G. Smith, W. Stockwell, C. Stubbs, N. Wang, S. White, B. A. Young, and D. Yvon, Phys. Rev. Lett., 69, 3425 (1992).

. 	G. C. Hilton, J. M. Martinis, D. A. Wollman, K. D. Irwin, L. L. Dulcie, D. Gerber, P. M. Gillevet, and D. Twerenbold, Nature, 391, 672 (1998).

.	E. Fiorini and T. O. Niinikoski, Nucl. Inst. and Meth., 224, 83 (1984).

.	D. McCammon, M. Juda, D. D. Reeder, R. L. Kelley, S. H. Moseley, and A. E. Szymkowiak, in Neutrino Mass and Low Energy Weak Interactions: Telemark, 1984, eds. V. Barger and D. Cline, p. 329 (Singapore: World Scientific, 1985).

.  	See the Search and Discovery article on using calorimeters for x-ray micro-analysis in the August 1998 issue.

.  	B. Cabrera, R. M. Clarke, P. Colling, A. J. Miller, S. Nam, and R. W. Romani, Appl. Phys. Lett., 73, 735 (1998).

. 	For an overview, see P. A. Charles and F. D. Seward, Exploring the X-ray Universe, (Cambridge University Press, Cambridge, 1995).

.	For a more complete account, see David Helfand’s article on this subject in the November 1995 issue.

.  	T. O. Niinikoski, "Cosmic-Ray Disturbances in Thermometry and Refrigeration" in Liquid and Solid Helium, pp. 145-147, (Halsted, New York:, l975).

.	S. H. Moseley, J. C. Mather, and D. McCammon, J. Appl. Phys., 56, 1257  (1984).

.	J. C. Mather, Appl. Opt. 21, 1125 (1982) and J. C. Mather, Appl. Opt. 23, 584 (1984).

.  B. I. Shklovskii and A. L. Efros, Electronic Properties of Doped Semiconductors (Springer-Verlag, Berlin, 1984).

.  J. Zhang, W. Cui, M. Juda, D. McCammon, R. L. Kelley, S. H. Moseley, C. K. Stahle, and A. E. Szymkowiak, Phys. Rev. B, 57, 4472 (1998), and N. Wang, F. C. Wellstood, B. Sadoulet, E. E. Haller, and J. Beeman, Phys. Rev. B, 41, 3761 (1990).

.  S. I. Han, R. Almy, E. Apodaca, W. Bergmann, S. Deiker, A. Lesser, D. McCammon, K. Rawlins, R. L. Kelley, S. H. Moseley, F. S. Porter, C. K. Stahle, and A. E. Szymkowiak, Proc. SPIE 3445, 640 (1998).

.  A. Zehnder, Phys. Rev. B., 52, 12858 (1995).  This paper approaches the problem from the perspective of optimizing superconducting tunnel junctions, for which the quasiparticle current is measured before complete thermalization occurs, but the overiew of the thermalizaton process is relevant to calorimeters with superconducting absorbers.

.  S. Deiker, R. Kelley, A. Lesser, D. McCammon, F. S. Porter, W. T. Sanders, C .K. Stahle, and A.E. Szymkowiak. Proc. of the 7th International Workshop on Low Temperature Detectors, 108 (1997).

.  W. J. Skocpol, M. R. Beasley, and M. Tinkham, J. Appl. Phys., 45, 4054 (1974).

.  K. D. Irwin, Appl. Phys. Lett., 66, 1998  (1995).